## Slide 1: Probablistic Localization of Target and Needle in Robotic Image-Guided Intervention Systems
Mark Renfrew
Zhuofu Bai

## Slide 2: The Problem
Inserting needle into tissue towards a target e.g., a tumor
Needle may deform
Target may move unpredictably

## Slide 3: Diagram
Target

## Slide 4: Models
Needle Motion Model
Target Motion Model
Needle Measurement Model
Target Measurement Model
Localization Model

## Slide 5: Needle Motion Model
Needle is modeled as a set of N quadratic splines
N+1 control points
Image of equation from paper

## Slide 6: Needle Motion Model

## Slide 7: Target Motion Model
Target takes a random walk - Brownian Motion
is the timestep,

## Slide 8: Imaging Model
We have a medical imaging device (e.g., CT scanner) oriented orthagonal to the needle base
It acquires images which represent a slice of the tissue at depth z
Subject to noise, false positives/negatives

## Slide 9: Needle Measurement Model
Given an imaging depth z, returns measurement vector Mn = [INT, x, y]
INT=TRUE if needle intersects image plane
(x,y) give detected intersection coordinates
(x,y) may differ from (x’,y’), the real needle coordinates at depth z
If true detection, (x,y) are chosen from a normal dist
If false detection, (x,y) are chosen from a uniform distribution

## Slide 10: Target Measurement Model
Assume spherical target
Detection probability is a saturating linear function of the target’s cross-sectional area on image
Measurement vector Mt = [INT,x,y]

## Slide 11: Localization
Two particle filters
One tracks target; each particle represents (x,y,z) position of target
One tracks needle, each particle represents a needle shape
6N dimensions

## Slide 12: Simulation
Needle with 5 control points, 5cm length inserted ~2cm over 20 timesteps
Needle tracking:
  Configuration error 0.2651 +/- 0.0274
  Needletip error 0.2614 +/- 0.0349
Target tracking:
  Target error 0.0355 +/- 0.0155

## Slide 13: Needle tracking – 1 timestep

## Slide 14: Needle tracking – 7 timesteps

## Slide 15: Needle tracking – 14 timesteps

## Slide 16: Needle tracking – 20 timesteps

## Slide 17: Target tracking
Time Step 1
Time Step 2

## Slide 18
Time Step 5
Time Step 7

## Slide 19
average error (kernel)=0.032628, average error(maximum weight)=0.038961

## Slide 20: Questions?